## Syringe Pump
Tender Inviting Authority: Chief Executive Officer, Shri Saibaba Sansthan Trust, Shirdi. | [5 empty] | 1
Name of Work: Tender F - Work Of Medical Gas Pipeline For Shri Sainath Hospital, Shirdi (Preferred Make - (Tender Cost – Rs.2600/- & Earnest Money Deposit – Rs.13,000/-)
Contract No: PURCHASE 2020-21
Bidder Name :
TECHNICAL SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Complay only)
Sr. No. | Description of Items | Demand Qty. | Unit | Compliance on each parameter with detailed substantiation how the offered product meets the requirement. (Simply writing as YES/ Complied / As per BIS/CE/ISO terms is not allowed) | Remarks, If any
1.1 | 22mm Copper pipe 0.9mm thickness | 200 | MTR
1.2 | 15mm Copper pipe 0.9mm thickness | 350 | MTR
1.3 | 22mm Isolation Valve | 6 | Nos.
1.4 | 15mm Isolation Valve | 12 | Nos.
1.5 | Medical gas outlets front loaded din standard Or BS standard. (Oxygen Vacuum, Air, Nitrous Oxide ) with skp | 60 | Nos.
1.6 | 3 Gas Zonal Value Box | 2 | Nos.
1.7 | 2 Gas Zonal Value Box | 2 | Nos.
1.8 | 3 Gas Digital Alarm System | 2 | Nos.
1.9 | 2 Gas Digital Alarm System | 2 | Nos.
1.10 | BPC Flow meter with Humidifier Bottle | 30 | Nos.
1.11 | Vacuum Jar 600 ml unit for Word with skp, tubing & clamp | 25 | Nos.
1.12 | Vacuum jar unit 1000ml for special room with skp, tubing & clamp | 5 | Nos.
1.13 | Suction Trolley with 2000 ml x 2 jar & central controller with skp, tubing | 2 | Nos.
1.14 | LAMC Cost- LAMC Cost should be including Taxes. It should be fixed for next 5 years. |  | Nos.
1.15 | LAMC Cost For 2th Year |  | Nos.
1.16 | LAMC Cost For 3th Year |  | Nos.
1.17 | LAMC Cost For 4th Year |  | Nos.
1.18 | LAMC Cost For 5th Year |  | Nos.
1.19 | LAMC Cost For 6th Year |  | Nos.
Total in Figures
Total in Words |  | Rupees