NO.SSS/WS/SSBH/STORES/(P/S)/                    /2019

DATE:

To,

-----------------------------------------

-----------------------------------------

-----------------------------------------

-----------------------------------------

SUB: - Quotation for Purchase of LED Headlight for ENT O.P.D. of Shri Sainath Hospital.

Dear Sir,

We have to purchase of LED Headlight for ENT O.P.D. of Shri Sainath of our Shri Sainath Hospital, Shirdi as per Technical Specification given in enclosed Annexure “A” & the following terms and conditions.

Terms & Condition

01) The LED Headlight will have to be supplied F.O.R. Shirdi.

02) The rate should be inclusive of GST, transport charges, T.O.T. Etc.

03) You will have to mention name of the company, packing, rate per unit, total cost etc.

04) Packing, forwarding, and other charges will not be paid by the Sansthan.

05) The delivery of the ordered material will have to made at Shri Saibaba Hospital, Shirdi on any working days between 10 a.m. to 6 p.m.

06) Please note that if taxes are not mentioned then rates quoted will be  
considered as including all taxes & F.O.R. Shirdi.

07) In case if supply is not made in the proper time and if material is to be purchased from other party at higher rates than the rates given in quotation you will be responsible to compensate the excess amount paid by the Sansthan.

08) You will have to supply the ordered material at the quoted rates in the quotation and no increase will be given or allowed in the rates for any reason whatsoever.

09) In case of breakage / leakage in transit, prior to delivery to Sansthan, you will have to replace the same immediately failing which payment will be made by deducting the cost of the same.

10) Payment will be made by the Sansthan on confirmation of the name of the company, quality, quantity, grade if any etc. as specified in the quotation. No advance payment will be made against the supply.

11) All the Equipments shall be new and manufactured from virgin materials. All the requirements of this supply shall be sourced from the original equipment manufacturer of the model quoted. In case the machine is imported one to import substitution is permitted neither before the wards nor after the award for any part or accessory.

Page No. 2/-

Page No.2

12) Any accessory / accessories not mentioned specifically but required to make system working will have to be supplied without any extra cost.

13) The supplier has to mention the one time visit charges for breakdown and servicing.

14) Equipment mentioned in the Technical specification shall operate on 230V ±10%, 50Hz, single phase electric supply if not mentioned specifically.

15) The necessary protective relaying / circuitry shall be there with the machines.

16)  The equipment shall be having warranty of 01 year. The warranty and CMC shall cover the batteries and lamps irrespective of whether those are treated as consumables or otherwise.

17) Minimum 4 Nos. of preventive maintenance visits and unlimited breakdown call visits as per requirement must be attended in the warranty and AMC/CMC period. The services to the equipment in warranty and CMC period will be considered as same.

18) The equipment should be provided with one hard copy in original of the detailed service manual and operation manual. Further, a soft copy is also required.

19) Repairs and maintenance training to two Biomedical Engineers should be given for one week or more as per requirement.

20) The equipment must be tropicalized as below-

Working Temperature : Max.450C

Storage Temperature : Max.500C

Relative humidity for working : 40 – 60%

Relative humidity for Storage : Max 90%

21) Among the other things, the responsiveness in Technical Bid will be based on successful demonstration of the offered model of the equipments to SSST officials as mentioned elsewhere in the tender specifications.

22) The product should be time tested, branded and should be OEM.

23) The life of the equipment should be mentioned.

24) The quotation must be clearly mention on the sealed envelops “ LED Headlight“ for Shri Saibaba Hospital.

25) The quotation in sealed cover may please be submitted to our Shirdi office on or before Dt.       15/06/2019.

Thanking you and with blessings of Shri Saibaba.

Yours Sincerely,

Administrative Officer

Shri Saibaba Sansthan Trust                                                           Shirdi

Shri Saibaba Hospital, Shirdi.

Annexure “A”

Specification  of LED Headlight-Battery Operated for

ENT O.P.D. of Shri Sainath Hospital.

| Sr. No. | Description | Qty. | Rate Per in Rs. (Incl. of all Taxes) | Total Amt. in Rs. |
| --- | --- | --- | --- | --- |
|  | LED Headlight-Battery Operated | 01 |  |  |
|  | Should be ISO 13485, CE certigied |  |  |  |
|  | The illumination should be more than 50,000 lux at a working distance of min.250 mm |  |  |  |
|  | Color Temperature should be between 4200 to 4500 kelvin |  |  |  |
|  | Color rendering CRI ≥ 90, R9 ≥ 75 |  |  |  |
|  | Expected Operating Life should be more than 45000 hrs. |  |  |  |
|  | Spot size adjustment should be available. It should be between 30-80 mm at a working distance of 420 mm |  |  |  |
|  | Round homogenous illumination. |  |  |  |
|  | LED should be of 5 W to 8 W |  |  |  |
|  | Continuous Illumination control with on off position mounted on the headband. |  |  |  |
|  | Optics: Advanced Multi coated glass optics for maximum brightness. |  |  |  |
|  | Weight of the light with the headband should not be more than 260gms. And with the cordless battery sh ould not be more than 460gms |  |  |  |
|  | Should be designed in such a way that it should be possible to attach binocular loupes. |  |  |  |
|  | The light should be free from any wires making it convenient for the surgeons to examine the patient in different rooms. |  |  |  |
|  | Should be supplied with battery, and the charger from the manufacturer of the light. |  |  |  |
|  | Battery Pack should be with Li-Ion battery |  |  |  |
|  | Battery Pack should be light weight. |  |  |  |
|  | It should be compact. |  |  |  |
|  | It should have integrated load protection. |  |  |  |
|  | Warranty – 1 Year |  |  |  |
|  | The product should be mandatorily with safely ISO,CE Certified |  |  |  |
|  | AMC cost-AMC cost should be including taxes. It should be fixed for 5 Year. |  |  |  |

Medical Director

Shri Saibaba Sansthan Trust’s

Hospital, Shirdi